## Post-Construction Checklist
Post-Construction Stormwater Management Checklist* (2,500 SF - 5,000 SF)
Applicability: Required for projects that create and/or replace between 2,500 square feet and 5,000 square feet of impervious surface (i.e. asphalt roads, concrete structures, building area, sidewalks, etc.). Impervious surfaces are those that water cannot infiltrate/soak into.
*This form must be filled out during the planning stages of the project to ensure that all required Best Management Practices are implemented in accordance with Cal Poly's Phase II Small MS4 General Permit 2013-0001-DWQ. All BMPs that will be implemented for projects will be reported to the State Water Quality Control Board on an annual basis by Cal Poly. If you have any questions, contact Kim Porter at egwinett@calpoly.edu or 805-756-6678
Exemptions: The following projects are exempt from the Phase II Small MS4 permit storm water site design measure and low impact design requirements:
1. Projects completed before July 1, 2014.
2. Regulated projects that have been designed, approved, and funded prior to July 1, 2014.
3. Interior remodels.
4. Routine maintenance or repair projects such as:
a. Maintenance, repair, and replacement work on existing underground utilities such as sanitary sewer lines or other utilities.
b. Exterior wall surface replacement.
c. Roof replacement.
d. Pavement or asphalt resurfacing within the existing footprint.
e. Sidewalk replacement within an existing footprint to replace concrete that is causing a trip hazard.
f. routine replacement/repair of damaged pavement/asphalt such as pothole repair
5. Project runoff does not drain to the storm sewer system. Verify this exemption by contacting Kim Porter at kbusby@calpoly.edu
***If your project meets the exemption requirements, do NOT fill out this form.
Project Name: | [8 empty] | Project #:
Street Address: | [5 empty] | Cross Streets:
Project Type: (Circle) |  | New Development |  | Re-Development |  |  | Road |  | Landscaping
|  |  | Retrofit |  |  | Utility |  | Other: ______________________
Areas (in square feet)
Total:_________ |  | Disturbed:____________ |  | New Impervious:_______________ |  |  | Replaced Impervious:________________
For projects that are Redevelopment or Road Widening Projects
Total pre-project impervious surface area:__________________ | [5 empty] | Total post-project impervious area:_____________
Status of Project
Date Application Deemed Complete: _____________________ | [6 empty] | Project Approval Date: _________________
SITE DESIGN MEASURES: Which site design measures have been implemented to reduce project site runoff? Project Manager must select one or more of the following options below (check all that apply).
Stream Setbacks and Buffers
(A vegetated area including trees, shrubs, and herbaceous vegetation, that exists or is established to protect a stream system, lake reservoir, or coastal estuarine area)
Soil Quality Improvement and Maintenance
(improvements and maintenance through soil amendments and creation of microbial community)
Tree Planting and Preservation
(planting and preservation of healthy established trees that include both evergreens and deciduous, as applicable)
Rooftop and Impervious Area Disconnection
(Rerouting of rooftop drainage pipes to drain rainwater to rain barrels, cisterns, or permeable areas instead of to the storm water system)
Porous Pavement
(Pavement that allows runoff to pass through it, thereby reducing the runoff from a site and surrounding areas and filtering pollutants)
Green Roofs
(a vegetative layer grown on a roof (rooftop garden))
Vegetated Swales
(A vegetated, open-channel management practice designed specifically to treat and attenuate storm water runoff)
Rain Barrels and Cisterns
(system that collects and stores storm water runoff from a roof or other impervious surface)
POST- CONSTRUCTION BMP FOLLOW-UP (to be completed after construction)
Where was the post-construction storm water treatment system installed (Circle all that apply): |  |  |  |  | Onsite |  |  |  | Offsite
O&M Responsibility of the Site Design and Treatment BMPs for the life of the project:
| Grounds |  | FMD | Other: ______________________________
BMP O&M procedures/guidance provided to Cal Poly? | [6 empty] | Yes |  | No
Date of Installation:
Date of post-construction inspection: | [5 empty] | Inspected by:
Proper Installation? |  |  | Yes | No | Corrective actions needed:
Submit completed form to Erin Winett, EH&S at egwinett@calpoly.edu