## Model & Facility Data Matrix (hidden)
MODEL AND FACILITY DATA MATRIX
STEP 1: | Is This a BIM Project? |  |  | Yes | Modeling Requirements |  |  |  |  | Required Facility Asset Fields
STEP 2: | Select Yes or No in Column E for each MASTERSYSTEM, SYSTEM and SUBSYSTEM that is In the Project Scope |  |  |  | DESIGN MODEL |  |  |  | RECORD MODEL
[10 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
CLASSIFICATION ID | MASTERSYSTEM / SYSTEM / SUBSYSTEM Name | System Type | UOM | In Scope (Yes or No) | DISCIPLINE | LOD | GRADE | LOD (AB) | GRADE | AssetNum | Description | Long Description | MASTERSYSTEM | SYSTEM | SUBSYSTEM | Building Number | Asset Quantity | Replacement Cost | Contract Number | Project Number | Warranty Expiration Date | Installation Date | Room Number | Manufacturer | Model | Serial #
A10 | A10 - FOUNDATIONS | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
A1010 |  | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
A1010110 | A1010110 - STRIP FOOTINGS | SUBSYSTEM | LF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1010210 | A1010210 - SPREAD FOOTINGS | SUBSYSTEM | EA | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1010250 | A1010250 - PILE CAPS | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020 | A1020 - SPECIAL FOUNDATIONS | SYSTEM | ● | No | ● | ● | ● | ● | ●
A102005 | A102005 - RAFT FOUNDATIONS | SUBSYSTEM | CY | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020110 | A1020110 - CIP CONCRETE PILES | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020120 | A1020120 - PRECAST CONCRETE PILES | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020130 | A1020130 - STEEL PIPE PILES | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020140 | A1020140 - STEEL H PILES | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020160 | A1020160 - TREATED WOOD PILES | SUBSYSTEM | EA | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1020210 | A1020210 - GRADE BEAMS | SUBSYSTEM | LF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A1030 | A1030 - SLAB ON GRADE | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
A1030120 | A1030120 - PLAIN/REINFORCED | SUBSYSTEM | SF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A20 | A20 - BASEMENT CONSTRUCTION | MASTERSYSTEM | ● | No | ● | ● | ● | ● | ●
A2010 | A2010 - BASEMENT EXCAVATION | SYSTEM | ● | No | ● | ● | ● | ● | ●
A2020 | A2020 - BASEMENT WALLS | SYSTEM | ● | No | ● | ● | ● | ● | ●
A2020110 | A2020110 - CIP CONCRETE | SUBSYSTEM | LF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A2020140 | A2020140 - CONCRETE BLOCK | SUBSYSTEM | LF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
A2020150 | A2020150 - WOOD | SUBSYSTEM | LF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B10 | B10 - SUPERSTRUCTURE | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
B1010 | B1010 - FLOOR CONSTRUCTION | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B1010220 | B1010220 - CIP CONCRETE BEAM AND SLAB | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010238 | B1010238 - PRECAST CONCRETE BEAM AND PLANK | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010244 | B1010244 - LIGHT GAUGE STEEL FLOOR SYSTEM | SUBSYSTEM | SF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010250 | B1010250 - COMPOSITE DECK, STEEL BAR JOISTS | SUBSYSTEM | SF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010254 | B1010254 - COMP DECK, STRUCTURAL STEEL BEAM | SUBSYSTEM | SF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010264 | B1010264 - WOOD BEAM, JOIST, AND DECK | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1010998 | B1010998 - EXTERIOR STAIRS | SUBSYSTEM | FLIGHT | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020 | B1020 - ROOF CONSTRUCTION | SYSTEM | ● | No | ● | ● | ● | ● | ●
B1020102 | B1020102 - WOOD DECK AND RAFTER | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020108 | B1020108 - STEEL DECK, BEAMS AND BAR JOIST | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020122 | B1020122 - CIP CONCRETE ROOF CONSTRUCTION | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020137 | B1020137 - AWNING/CANOPY | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020901 | B1020901 - CIP CONCRETE BEAM AND SLAB | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1020902 | B1020902 - PRECAST CONCRETE BEAM AND PLANK | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B1030 | B1030 - ROOF CONSTRUCTION | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B103001 | B103001 - METAL STRUCTURAL FRAME | SUBSYSTEM | LF | Yes | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B20 | B20 - EXTERIOR ENCLOSURE | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
B2010 | B2010 - EXTERIOR WALLS | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B2010101 | B2010101 - CIP CONCRETE | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010104 | B2010104 - PRECAST CONCRETE PANEL (RIBBED) | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010106 | B2010106 - PRECAST CONCRETE PANEL (TILT UP) | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010109 | B2010109 - CONCRETE BLOCK | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010125 | B2010125 - SOLID BRICK - SINGLE WYTHE | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010126 | B2010126 - SOLID BRICK - DOUBLE WYTHE | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010128 | B2010128 - STONE VENEER W/STUD BACKUP | SUBSYSTEM | SF | No | ARCHITECTURAL, STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010130 | B2010130 - BRICK VENEER W/STUD BACKUP | SUBSYSTEM | SF | No | ARCHITECTURAL, STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010132 | B2010132 - MASONRY COMPOSITE | SUBSYSTEM | SF | No | STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010134 | B2010134 - MASONRY CAVITY | SUBSYSTEM | SF | No | ARCHITECTURAL, STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010140 | B2010140 - GLASS BLOCK | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010146 | B2010146 - METAL SIDING PANEL | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010148 | B2010148 - WOOD CLADDING W/STUD BACKUP | SUBSYSTEM | SF | No | ARCHITECTURAL, STRUCTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010151 | B2010151 - STUCCO WALL | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2010152 | B2010152 - E.I.F.S. | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
B2020 | B2020 - EXTERIOR GLAZED OPENINGS | SYSTEM | ● | No | ● | ● | ● | ● | ●
B2020102 | B2020102 - WOOD WINDOWS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2020104 | B2020104 - STEEL WINDOWS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2020106 | B2020106 - ALUMINUM WINDOWS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2020210 | B2020210 - TUBULAR ALUMINUM FRAMING | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2020220 | B2020220 - CURTAIN WALL PANELS | SUBSYSTEM | SF | No | ARCHITECTURAL, STRUCTURAL | 300 | A |  | A+ | bar: 1 to 13
B2030 | B2030 - EXTERIOR DOORS | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B2030110 | B2030110 - GLAZED DOORS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2030210 | B2030210 - WOOD DOORS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2030220 | B2030220 - STEEL DOORS | SUBSYSTEM | EA | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2030230 | B2030230 - ALUMINUM DOORS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B2030410 | B2030410 - OVERHEAD DOORS | SUBSYSTEM | EA | Yes | ARCHITECTURAL | 300 | A | ● | A+ | bar: 1 to 17
B2030901 | B2030901 - HANGAR DOORS | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 17
B2030902 | B2030902 - BLAST RESISTANT DOORS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 17
B30 | B30 - ROOFING | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
B3010 | B3010 - ROOF COVERING | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B3010105 | B3010105 - BUILT-UP | SUBSYSTEM | SF | No | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010120 | B3010120 - SINGLE PLY MEMBRANE | SUBSYSTEM | SF | No | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010130 | B3010130 - PREFORMED METAL | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010135 | B3010135 - FORMED METAL | SUBSYSTEM | SF | No | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010140 | B3010140 - SHINGLE TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010320 | B3010320 - ROOF DECK INSULATION | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010610 | B3010610 - GUTTERS | SUBSYSTEM | LF | Yes | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3010620 | B3010620 - DOWNSPOUTS | SUBSYSTEM | LF | Yes | ARCHITECTURAL | 200 | A |  | A+ | bar: 1 to 13
B3020 | B3020 - ROOF OPENING | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
B3020110 | B3020110 - SKYLIGHTS | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
B3020210 | B3020210 - HATCHES | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C10 | C10 - INTERIOR CONSTRUCTION | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
C1010 | C1010 - PARTITIONS | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
C1010102 | C1010102 - CONCRETE BLOCK | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C1010120 | C1010120 - TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C1010126 | C1010126 - DRYWALL W/STUD FRAMING | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C1010140 | C1010140 - PLASTER W/STUD FRAMING | SUBSYSTEM | SF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C1010710 | C1010710 - INTERIOR WINDOWS | SUBSYSTEM | EA | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C1020 | C1020 - INTERIOR DOORS | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
C1020102 | C1020102 - SPECIAL DOORS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020111 | C1020111 - FIRE DOOR, SWINGING | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020112 | C1020112 - FIRE DOOR, SLIDING | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020113 | C1020113 - FIRE DOOR, ROLLING SERVICE/ROLL-UP | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020114 | C1020114 - METAL DOOR | SUBSYSTEM | EA | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020120 | C1020120 - WOOD DOOR/WOOD FRAME | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020122 | C1020122 - WOOD DOOR/METAL FRAME | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020124 | C1020124 - WOOD FIRE DOORS/METAL FRAMES | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1020301 | C1020301 - BLAST RESISTANT DOOR | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1030 | C1030 - FITTINGS | SYSTEM | ● | No | ● | ● | ● | ● | ● | bar: 1 to 13
C1030110 | C1030110 - TOILET PARTITIONS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1030310 | C1030310 - LOCKERS | SUBSYSTEM | EA | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1030830 | C1030830 - CABINETS | SUBSYSTEM | LF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C1030831 | C1030831 - COUNTERTOP | SUBSYSTEM | LF | No | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 13
C20 | C20 - STAIRS | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
C2010 | C2010 - STAIR CONSTRUCTION | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
C2010110 | C2010110 - STAIRS | SUBSYSTEM | FLIGHT | Yes | ARCHITECTURAL | 300 | A |  | A+ | bar: 1 to 8; 10 to 13
C2020 | C2020 - STAIR FINISHES | SYSTEM | ● | No | ● | ● | ● | ● | ●
C30 | C30 - INTERIOR FINISHES | MASTERSYSTEM | ● | Yes | ● | ● | ● | ● | ●
C3010 | C3010 - WALL FINISHES | SYSTEM | ● | No | ● | ● | ● | ● | ●
C3010230 | C3010230 - WALL COVERING | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3010380 | C3010380 - WALL TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020 | C3020 - FLOORING | SYSTEM | ● | Yes | ● | ● | ● | ● | ●
C3020901 | C3020901 - CARPET | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020902 | C3020902 - CARPET TILE | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020903 | C3020903 - COMPOSITION SHEET | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020904 | C3020904 - CONCRETE TOPPING | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020905 | C3020905 - WOOD | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020906 | C3020906 - TERRAZZO | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020907 | C3020907 - VINYL TILE | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020908 | C3020908 - CORK TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020909 | C3020909 - RUBBER SHEET | SUBSYSTEM | SF | Yes | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020910 | C3020910 - PORCELAIN TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020911 | C3020911 - QUARRY TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020912 | C3020912 - PAINT | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020913 | C3020913 - MARBLE TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020914 | C3020914 - CERAMIC TILE | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13
C3020915 | C3020915 - ACCESS FLOORING | SUBSYSTEM | SF | No | ARCHITECTURAL | 100 | B |  | B+ | bar: 1 to 13

## Required Facility Asset Fields (hidden)
REQUIRED FACILITY ASSET FIELDS
Position | Name | Responsible Party | Explanation
1 | Equip Num | CONTRACTOR | Equipment Identification used by the Contractor to uniquely identify equipment (e.g. FAN001, AHU003)
2 | Description | CONTRACTOR | Primary Equipment/Asset Name (100 Character Limit)
3 | MASTERSYSTEM DIVISION | DOR | Reference values from Model & Facility Data Matrix tab (MASTERSYSTEM)
4 | Specification Section | DOR | Reference values from Model & Facility Data Matrix tab (SYSTEM)
5 | Unit of Measure | UNIV. | Current Building # in MAXIMO for renovation work. Will be provided by UNIVERSITY for new construction
6 | Asset Quantity | CONTRACTOR | Quantity in correct unit of measure as defined in UOM field of the Model & Facility Data Matrix
7 | Replacement Cost | CONTRACTOR | Installed cost (material and labor)
8 | Warranty Expiration Date | CONTRACTOR | MM/DD/YYYY
9 | Installation Date | CONTRACTOR | MM/DD/YYYY
10 | Room Number | CONTRACTOR | Room Number of installed equipment
11 | Manufacturer | CONTRACTOR | Manufacturer name of installed equipment
12 | Model | CONTRACTOR | Model number of installed equipment
13 | Serial # | CONTRACTOR | Serial number of installed equipment
14 | Long Description | CONTRACTOR | Additional Relevant Information (e.g. size, capacity, limits, etc…) (1000 Character Limit)

## CONTRACTOR FACILITY DATA FILE
CONTRACTOR FACILITY DATA FILE
Each facility component or piece of equipment will be a new row.
Contract Number
Project Number |  |  |  | SPACES (BLACK BOX, EIM LAB, SENSORY LAB, STUDIO SPACE)
Project Name |  |  |  | Note: POC cabling Network vs AV network support
Building Number
Position | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 |  |  |  |  | 19
Name | Equip Num | Description | Masterformat Division | Specification Section | Campus Standards | UOM | Asset Quantity | Replacement Cost | Warranty Expiration Date | Installation Date | Room Number | Asset Owner | Service | Manufacturer | Model | Serial # | MAC Address | Building System ID | Instance Number | Warranty | EH&S Controls | Training | Asset Information | Long Description
Explanation | Equipment Identification used by the Contractor to uniquely identify equipment (e.g. FAN001, AHU003) | Primary Equipment/ Asset Name (100 Character Limit) | Masterformat Project Specification | Project Specification Section | Approved Deviation from Campus Standards (Yes/No) | Unit of Measure | Quantity in correct unit of measure as defined in UOM | Installed cost (material and labor) | MM/DD/YYYY | MM/DD/YYYY | Room Number of installed equipment | State Owned or Department Owned | FMD Department or ITS | Manufacturer name of installed equipment | Model number of installed equipment | Serial number of installed equipment | MAC Address for Network Connected Equipment | BACnet Device ID | Instance Number | Standard (1) year or extended | Controls for Maintenance (e.g. Confined Space, Fall Protection, PPE). | Recorded Training | Preventative Maintenance record tagged and in Planon or by Department | Additional Relevant Information (e.g. size, capacity, limits, etc.…) (1000 Character Limit)
|  |  | DIVISION 03 - CONCRETE | 033000 Cast-In-Place Concrete |  | SF | [5 empty] | State | [11 empty] | Hyperlink to O & M (placeholder)
|  |  | DIVISION 03 - CONCRETE | 033300 Architectural Concrete |  | SF | [5 empty] | State
|  |  | DIVISION 03 - CONCRETE | 033500 Concrete Sealers |  | SF | [5 empty] | State
|  |  | DIVISION 03 - CONCRETE | 033524 Polished Concrete |  | SF | [5 empty] | State
|  |  | DIVISION 03 - CONCRETE | 033713 Shotcrete (Pneumatically Applied Concrete) |  | SF | [5 empty] | State
|  |  | DIVISION 04 - MASONRY | 042100 Brick Veneer |  | SF | [5 empty] | State
|  |  | DIVISION 04 - MASONRY | 042114 Thin Brick Veneer |  | SF | [5 empty] | State
|  |  | DIVISION 04 - MASONRY | 042200 Reinforced Concrete Masonry Units |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 050510 Metal Finishes |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 050523 Welded Stud Connectors |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 051200 Structural Steel |  | LF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 053100 Steel Deck |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 054000 Cold-Formed Metal Framing |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 055000 Metal Fabrications |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 055100 Metal Stairs |  | FLIGHT | [5 empty] | State
|  |  | DIVISION 05 - METALS | 055133 Ladders |  | EA | [5 empty] | State
|  |  | DIVISION 05 - METALS | 055200 Metal Railings |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 055813 Column Covers |  | SF | [5 empty] | State
|  |  | DIVISION 05 - METALS | 057500 Decorative Metal |  | SF | [5 empty] | State
|  |  | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 061053 Miscellaneous Rough Carpentry |  | SF | [5 empty] | State
|  |  | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 061643 Gypsum Sheathing |  | SF | [5 empty] | State
|  |  | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 062000 Finished Carpentry |  | SF | [5 empty] | State
|  |  | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 064000 Architectural Woodwork |  | SF | [5 empty] | State
|  |  | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 064116 Plastic-Laminate-Clad Wood Cabinets |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 071300 Sheet Waterproofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 071350 Pre-Applied Sheet Membrane Waterproofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 071413 Hot Fluid-Applied Rubberized Asphalt Waterproofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 071416 Cold Fluid-Applied Waterproofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 071900 Water Repellents |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 072100 Thermal Insulation |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 072600 Vapor Retarders |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 072700 Air Barriers |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 074215 Metal Plate Wall System |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 074243 Composite Wall Panels |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 075419 Polyvinyl Chloride Roofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 076000 Flashing and Sheet Metal |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 078100 Applied Fireproofing |  | SF | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 078400 Firestopping |  | EA | [5 empty] | State
|  |  | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 079200 Joint Sealants |  | LF | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 081100 Metal Doors and Frames |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 081216 Interior Aluminum Frames and Doors |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 081400 Wood Doors |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 083100 Access Doors and Panels |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 083213 Sliding Aluminum-Framed Glass Doors |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 083323 Overhead Coiling Doors |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 084113 Aluminum Framed Entrances and Storefronts |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 084413 Glazed Aluminum Curtain Walls |  | SF | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 084601 Fire Rated Glass and Framing Systems |  | SF | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 086200 Unit Skylights |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 087100 Door Hardware |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 087154 Security Key Keeper (Knox Box) |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 088000 Glazing |  | SF | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 088300 Mirrors |  | EA | [5 empty] | State
|  |  | DIVISION 08 - OPENINGS | 089100 Louvers |  | EA | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 092214 Furring and Lathing |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 092300 Decorative Cement Plastering |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 092400 Portland Cement Plastering |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 092900 Gypsum Board Assemblies |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 093000 Tiling |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 095100 Acoustical Ceilings |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 095423 Metal Panel Ceilings |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 095426 Linear Wood Wall System |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 096500 Resilient Flooring |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 096723 Chemical Resistant Flooring |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 096813 Tile Carpeting |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 097219 Tackable Wall Covering |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 097713 Stretched Fabric Wall Systems |  | SF | [5 empty] | State
|  |  | DIVISION 09 - FINISHES | 099000 Painting and Coating |  | SF | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 101000 Visual Display Surfaces |  | EA | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 101116 Glass Markerboards |  | EA | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 102114 HDPE Toilet Compartments |  | SF | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 102123 Privacy Curtains and Tracks |  | SF | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 102214 Chain Link Mesh Partitions |  | SF | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 102600 Wall and Door Protection |  | EA | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 102813 Toilet Accessories |  | EA | [5 empty] | State
|  |  | DIVISION 10 - SPECIALTIES | 104321 Accessibility Evacuation Chair |  | EA | [5 empty] | State
EA
EA
EA
EA
EA
EA
LF
EA
EA
EA
LF
EA
LF
EA
EA
EA
EA
EA
EA
LF
LF
LF
LF
LF
LF
LF
LF
EA
EA
EA
EA
EA
LF
LF
LF
EA
EA
EA
EA
EA
LF
LF
EA
EA
EA
EA
EA
EA
EA
LF
EA
EA
EA
EA
LF
EA
LF
EA
LF
EA
LF
EA
LF
LF
EA
LF
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
LF
EA
EA
EA
LF
LF
EA
EA
EA
EA
EA
EA
SF
SF
SF
SF
LF
EA
SF
EA
LF
LF
LF
LF

## Sample Data File
SAMPLE CONTRACTOR FACILITY DATA FILE
Each facility component or piece of equipment will be a new row.
Contract Number
Project Number
Building Number
Building Number
Position | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Name | Equip Num | Description | MASTERSYSTEM | SYSTEM | Campus Standards | UOM | Asset Quantity | Replacement Cost | Warranty Expiration Date | Installation Date | Room Number | Asset Owner | Manufacturer | Model | Serial # | Long Description
Explanation | Equipment Identification used by the Contractor to uniquely identify equipment (e.g. FAN001, AHU003) | Primary Equipment/ Asset Name (100 Character Limit) | Masterformat Project Specification | Project Specification Section | Approved Deviation from Campus Standards (Yes/No) | Unit of Measure | Quantity in correct unit of measure as defined in UOM | Installed cost (material and labor) | MM/DD/YYYY | MM/DD/YYYY | Room Number of installed equipment | State Owned or Department Owned | Manufacturer name of installed equipment | Model number of installed equipment | Serial number of installed equipment | Additional Relevant Information (e.g. size, capacity, limits, etc.…) (1000 Character Limit)
|  | FLOOR CONSTRUCTION, CIP CONCRETE | DIVISION 03 - CONCRETE | 033000 Cast-In-Place Concrete |  | SF | 66312 | 1193616 |  | 2021-03-01 |  | State |  |  |  | Hyperlink to O & M
|  | ARCHITECTURAL CONCRETE | DIVISION 03 - CONCRETE | 033300 Architectural Concrete |  | SF | 17588 | 471491.98 |  | 2021-03-01 |  | State
|  | STEEL STRUCTURAL FRAME | DIVISION 05 - METALS | 051200 Structural Steel |  | SF | 17588 | 257079.25 |  | 2021-03-01 |  | State
|  | STEEL DECK | DIVISION 05 - METALS | 053100 Steel Deck |  | SF | 17588 | 140704 |  | 2021-03-01 |  | State
|  | EXTERIOR WALLS, BRICK | DIVISION 04 - MASONRY | 042100 Brick Veneer |  | SF | 567 | 14175 |  | 2021-03-01 |  | State
|  | EXTERIOR WALLS, CMU | DIVISION 04 - MASONRY | 042200 Reinforced Concrete Masonry Units |  | SF | 20178 | 322848 |  | 2021-03-01 |  | State
|  | ARCHITECTURAL WOODWORK | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 064000 Architectural Woodwork |  | SF | 875 | 1890436.37 |  | 2021-03-01 |  | State
|  | PLC WOOD CABINETS | DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | 064116 Plastic-Laminate-Clad Wood Cabinets |  | SF | 395 | 454250 |  | 2021-03-01 |  | State
|  | ROOF, PVC ROOF | DIVISION 07 - THERMAL AND MOISTURE PROTECTION | 075419 Polyvinyl Chloride Roofing |  | SF | 16805 | 168050 |  | 2021-03-01 |  | State
|  | INTERIOR PARTITIONS - DECORATIVE METAL | DIVISION 05 - METALS | 057500 Decorative Metal |  | SF | 5376 | 69888 |  | 2021-03-01 |  | State
|  | INTERIOR PARTITIONS - FRAMED WALLS | DIVISION 05 - METALS | 054000 Cold-Formed Metal Framing |  | SF | 52656 | 315936 |  | 2021-03-01 |  | State
|  | DOORS, INTERIOR METAL | DIVISION 08 - OPENINGS | 081100 Metal Doors and Frames |  | EA | 59 | 15367.68 |  | 2021-03-01 |  | State
|  | DOORS, INTERIOR WOOD | DIVISION 08 - OPENINGS | 081400 Wood Doors |  | EA | 105 | 81574.31 |  | 2021-03-01 |  | State
|  | DOORS, INTERIOR ALUMINUM DOORS | DIVISION 08 - OPENINGS | 081216 Interior Aluminum Frames and Doors |  | EA | 4 | 8141.34 |  | 2021-03-01 |  | State
|  | DOORS, SLIDING ALUMINUM-FRAMED GLASS DOORS | DIVISION 08 - OPENINGS | 083213 Sliding Aluminum-Framed Glass Doors |  | EA | 4 | 8141.34 |  | 2021-03-01 |  | State
|  | WALL FINISHES, STRETCHED FABRIC WALL SYSTEMS | DIVISION 09 - FINISHES | 097713 Stretched Fabric Wall Systems |  | EA | 4751 | 23755 |  | 2021-03-01 |  | State
|  | WALL FINISHES, LINEAR WOOD WALL SYSTEM | DIVISION 09 - FINISHES | 095426 Linear Wood Wall System |  | SF | 4953 | 59436 |  | 2021-03-01 |  | State
|  | FLOORING, CARPET | DIVISION 09 - FINISHES | 096813 Tile Carpeting |  | SF | 66960 | 334800 |  | 2021-03-01 |  | State
|  | FLOORING, RESILIENT | DIVISION 09 - FINISHES | 096500 Resilient Flooring |  | SF | 1390 | 4170 |  | 2021-03-01 |  | State
|  | FLOORING, CHEMICAL RESISTANT FLOORING | DIVISION 09 - FINISHES | 096723 Chemical Resistant Flooring |  | SF | 2637 | 23733 |  | 2021-03-01 |  | State
|  | CEILING, DRYWALL / GYPSUM BOARD | DIVISION 09 - FINISHES | 092900 Gypsum Board Assemblies |  | SF | 2700 | 13500 |  | 2021-03-01 |  | State
|  | CEILING, ACOUSTICAL TILE | DIVISION 09 - FINISHES | 095100 Acoustical Ceilings |  | SF | 2700 | 13500 |  | 2021-03-01 |  | State
|  | CEILING, METAL TILE | DIVISION 09 - FINISHES | 095423 Metal Panel Ceilings |  | SF | 52201 | 313206 |  | 2021-03-01 |  | State
|  | PASSENGER ELEVATORS | DIVISION 14 - CONVEYING EQUIPMENT | 142100 Electric Overhead Traction Elevators |  | EA | 1 | 86362.49 |  | 2021-03-01 |  | State
|  | SERVICE ELEVATORS | DIVISION 14 - CONVEYING EQUIPMENT | 142100 Electric Overhead Traction Elevators |  | EA | 1 | 140000 |  | 2021-03-01 |  | State
|  | CONVERTER | DIVISION 23 – HEATING, VENTILATING, AND AIR CONDITIONING (HVAC) | 238214 Heating and Cooling Terminal Devices |  | EA | 1 | 2345 |  | 2021-03-01 | 1ST FL MER | State | BELL AND GOSSETT | SU-127-2 | 125693
|  | Cooling Generating Systems, Condenser, DX, Air Cooled, Direct Drive, 5 ton, R-22 | DIVISION 23 – HEATING, VENTILATING, AND AIR CONDITIONING (HVAC) | 238214 Heating and Cooling Terminal Devices |  | EA | 1 | 1875 |  | 2021-03-01 | 1ST FL MER | State | AMTROL, INC. | S8842A | 25281
|  | CHILLER, RECIP AIR COOLED - ROOF | DIVISION 23 – HEATING, VENTILATING, AND AIR CONDITIONING (HVAC) | 237328 Factory Fabricated Custom Air Handling Units |  | EA | 1 | 53000 |  | 2021-03-01 | ROOF | State | CARRIER | 30GXR249A540KA | 1902F52592
|  | CONDENSER, DX, AIR COOLED | DIVISION 23 – HEATING, VENTILATING, AND AIR CONDITIONING (HVAC) | 237328 Factory Fabricated Custom Air Handling Units |  | EA | 1 | 8268.75 |  | 2021-03-01 | W ROOF | State | LENNOX | PFG10 | T04E00710
SAMPLE CONTRACTOR FACILITY DATA FILE
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
CAFES
CAFES
CSM/CAFES
CSM/CAFES
CSM/CAFES
CSM/CAFES
CLA
State
State
State
State
State
State
State
State
State
State
State
State
CSM/CAFES
State
State
State
CSM/CAFES
State
State
CSM/CAFES
CSM/CAFES
CSM/CAFES
CSM/CAFES
CSM/CAFES
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State
State

## MASTERFORMAT CSI
Description | MD/SS | UOM
DIVISION 03 - CONCRETE | MASTERFORMAT DIVISION | SF
033000 Cast-In-Place Concrete | SPECIFICATION SECTION | SF
033300 Architectural Concrete | SPECIFICATION SECTION | SF
033500 Concrete Sealers | SPECIFICATION SECTION | SF
033524 Polished Concrete | SPECIFICATION SECTION | SF
033713 Shotcrete (Pneumatically Applied Concrete) | SPECIFICATION SECTION | SF
DIVISION 04 - MASONRY | MASTERFORMAT DIVISION | SF
042100 Brick Veneer | SPECIFICATION SECTION | SF
042114 Thin Brick Veneer | SPECIFICATION SECTION | SF
042200 Reinforced Concrete Masonry Units | SPECIFICATION SECTION | SF
DIVISION 05 - METALS | MASTERFORMAT DIVISION | CY
050510 Metal Finishes | SPECIFICATION SECTION | SF
050523 Welded Stud Connectors | SPECIFICATION SECTION | SF
051200 Structural Steel | SPECIFICATION SECTION | LF
053100 Steel Deck | SPECIFICATION SECTION | SF
054000 Cold-Formed Metal Framing | SPECIFICATION SECTION | SF
055000 Metal Fabrications | SPECIFICATION SECTION | SF
055100 Metal Stairs | SPECIFICATION SECTION | FLIGHT
055133 Ladders | SPECIFICATION SECTION | EA
055200 Metal Railings | SPECIFICATION SECTION | SF
055813 Column Covers | SPECIFICATION SECTION | SF
057500 Decorative Metal | SPECIFICATION SECTION | SF
DIVISION 06 – WOOD, PLASTICS, AND COMPOSITES | MASTERFORMAT DIVISION | SF
061053 Miscellaneous Rough Carpentry | SPECIFICATION SECTION | SF
061643 Gypsum Sheathing | SPECIFICATION SECTION | SF
062000 Finished Carpentry | SPECIFICATION SECTION | SF
064000 Architectural Woodwork | SPECIFICATION SECTION | SF
064116 Plastic-Laminate-Clad Wood Cabinets | SPECIFICATION SECTION | SF
DIVISION 07 - THERMAL AND MOISTURE PROTECTION | MASTERFORMAT DIVISION | SF
071300 Sheet Waterproofing | SPECIFICATION SECTION | SF
071350 Pre-Applied Sheet Membrane Waterproofing | SPECIFICATION SECTION | SF
071413 Hot Fluid-Applied Rubberized Asphalt Waterproofing | SPECIFICATION SECTION | SF
071416 Cold Fluid-Applied Waterproofing | SPECIFICATION SECTION | SF
071900 Water Repellents | SPECIFICATION SECTION | SF
072100 Thermal Insulation | SPECIFICATION SECTION | SF
072600 Vapor Retarders | SPECIFICATION SECTION | SF
072700 Air Barriers | SPECIFICATION SECTION | SF
074215 Metal Plate Wall MASTERFORMAT DIVISION | SPECIFICATION SECTION | SF
074243 Composite Wall Panels | SPECIFICATION SECTION | SF
075419 Polyvinyl Chloride Roofing | SPECIFICATION SECTION | SF
078100 Applied Fireproofing | SPECIFICATION SECTION | SF
078400 Firestopping | SPECIFICATION SECTION | EA
079200 Joint Sealants | SPECIFICATION SECTION | LF
DIVISION 08 - OPENINGS | MASTERFORMAT DIVISION | SF
081100 Metal Doors and Frames | SPECIFICATION SECTION | EA
081216 Interior Aluminum Frames and Doors | SPECIFICATION SECTION | EA
081400 Wood Doors | SPECIFICATION SECTION | EA
083100 Access Doors and Panels | SPECIFICATION SECTION | EA
083213 Sliding Aluminum-Framed Glass Doors | SPECIFICATION SECTION | EA
083323 Overhead Coiling Doors | SPECIFICATION SECTION | EA
084113 Aluminum Framed Entrances and Storefronts | SPECIFICATION SECTION | EA
084413 Glazed Aluminum Curtain Walls | SPECIFICATION SECTION | SF
084601 Fire Rated Glass and Framing MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | SF
086200 Unit Skylights | SPECIFICATION SECTION | EA
087100 Door Hardware | SPECIFICATION SECTION | EA
087154 Security Key Keeper (Knox Box) | SPECIFICATION SECTION | EA
088000 Glazing | SPECIFICATION SECTION | SF
088300 Mirrors | SPECIFICATION SECTION | EA
089100 Louvers | SPECIFICATION SECTION | EA
DIVISION 09 - FINISHES | MASTERFORMAT DIVISION | SF
092214 Furring and Lathing | SPECIFICATION SECTION | SF
092300 Decorative Cement Plastering | SPECIFICATION SECTION | SF
092400 Portland Cement Plastering | SPECIFICATION SECTION | SF
092900 Gypsum Board Assemblies | SPECIFICATION SECTION | SF
093000 Tiling | SPECIFICATION SECTION | SF
095100 Acoustical Ceilings | SPECIFICATION SECTION | SF
095423 Metal Panel Ceilings | SPECIFICATION SECTION | SF
095426 Linear Wood Wall MASTERFORMAT DIVISION | SPECIFICATION SECTION | SF
096500 Resilient Flooring | SPECIFICATION SECTION | SF
096723 Chemical Resistant Flooring | SPECIFICATION SECTION | SF
096813 Tile Carpeting | SPECIFICATION SECTION | SF
097219 Tackable Wall Covering | SPECIFICATION SECTION | SF
097713 Stretched Fabric Wall MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | SF
099000 Painting and Coating | SPECIFICATION SECTION | SF
DIVISION 10 - SPECIALTIES | MASTERFORMAT DIVISION | SF
101000 Visual Display Surfaces | SPECIFICATION SECTION | EA
101116 Glass Markerboards | SPECIFICATION SECTION | EA
102114 HDPE Toilet Compartments | SPECIFICATION SECTION | SF
102123 Privacy Curtains and Tracks | SPECIFICATION SECTION | SF
102214 Chain Link Mesh Partitions | SPECIFICATION SECTION | SF
102600 Wall and Door Protection | SPECIFICATION SECTION | EA
102813 Toilet Accessories | SPECIFICATION SECTION | EA
104321 Accessibility Evacuation Chair | SPECIFICATION SECTION | EA
104335 Emergency Aid Phone | SPECIFICATION SECTION | EA
104400 Fire Protection Specialties | SPECIFICATION SECTION | EA
DIVISION 11 - EQUIPMENT | MASTERFORMAT DIVISION | SF
112423 Façade Maintenance MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
113100 Appliances | SPECIFICATION SECTION | EA
114000 Food Service Equipment | SPECIFICATION SECTION | EA
115213 Projection Screens | SPECIFICATION SECTION | EA
115310 Laboratory Casework and Other Furnishing | SPECIFICATION SECTION | LF
115313 Fume Hoods and Other Air Containment Units | SPECIFICATION SECTION | EA
115343 Laboratory Service Fittings and Fixtures | SPECIFICATION SECTION | EA
115350 Laboratory Equipment | SPECIFICATION SECTION | EA
116143 Theater Track | SPECIFICATION SECTION | LF
DIVISION 12 - FURNISHINGS | MASTERFORMAT DIVISION | SF
122413 Rolling Window Shades | SPECIFICATION SECTION | EA
123663 Solid Surfacing Fabrications | SPECIFICATION SECTION | LF
124813 Entrance Floor Mats and Frames | SPECIFICATION SECTION | EA
129300 Site Furnishings | SPECIFICATION SECTION | EA
DIVISION 14 - CONVEYING EQUIPMENT | MASTERFORMAT DIVISION | SF
142100 Electric Overhead Traction Elevators | SPECIFICATION SECTION | EA
DIVISION 20 – MECHANICAL | MASTERFORMAT DIVISION | SF
200513 Motors | SPECIFICATION SECTION | EA
200514 Variable Frequency Drive (VFD) MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
200573 Mechanical MASTERFORMAT DIVISIONs Firestopping | SPECIFICATION SECTION | EA
200700 Mechanical MASTERFORMAT DIVISIONs Insulation | SPECIFICATION SECTION | LF
DIVISION 21 – FIRE SUPPRESSION | MASTERFORMAT DIVISION | EA
211314 Automatic Fire Sprinkler MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
DIVISION 22 - PLUMBING | MASTERFORMAT DIVISION | SF
220533 Electrical Heat Tracing | SPECIFICATION SECTION | LF
221118 Water Distribution MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
221314 Sanitary Waste and Storm Drainage MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | LF
221314 Sanitary Waste and Storm Drainage MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | LF
221400 Grease Waste and Vent MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
221414 Building Subsoil Drainage | SPECIFICATION SECTION | LF
221600 Natural Gas Piping | SPECIFICATION SECTION | LF
222114 Plumbing Specialties | SPECIFICATION SECTION | EA
223100 Water Conditioning Equipment | SPECIFICATION SECTION | EA
223314 Water Heating Equipment | SPECIFICATION SECTION | EA
224000 Plumbing Fixtures | SPECIFICATION SECTION | EA
226114 Laboratory Compressed Air MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
226214 Laboratory Vacuum Piping MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
226653 Corrosion Resistant Waste and Vent MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
226714.13 Plastic Piping for High Purity Service | SPECIFICATION SECTION | LF
226720.13 High Purity Water MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
DIVISION 23 – HEATING, VENTILATING, AND AIR CONDITIONING (HVAC) | MASTERFORMAT DIVISION | SF
230902 Control Valves and Dampers | SPECIFICATION SECTION | EA
230903 Control Instrumentation | SPECIFICATION SECTION | EA
230923 Direct Digital Controllers and Networks | SPECIFICATION SECTION | EA
230925 Environmental Monitoring MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
232114 Underground (Direct Buried) Piping | SPECIFICATION SECTION | LF
232116 Pipe and Pipe Fittings | SPECIFICATION SECTION | LF
232120 Piping Specialties | SPECIFICATION SECTION | EA
232123 Pumps | SPECIFICATION SECTION | EA
232514 Chemical Treatment MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
233114 Ductwork | SPECIFICATION SECTION | LF
233314 Ductwork Specialties | SPECIFICATION SECTION | EA
233400 Fans | SPECIFICATION SECTION | EA
233500 Shop Exhaust MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
233600 Air Terminal Devices | SPECIFICATION SECTION | EA
233614 Laboratory Temperature and Airflow Control MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
233713 Diffusers, Registers and Grilles | SPECIFICATION SECTION | EA
234114 Filters | SPECIFICATION SECTION | LF
237328 Factory Fabricated Custom Air Handling Units | SPECIFICATION SECTION | EA
238126 Variable Refrigerant Flow MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | LF
238214 Heating and Cooling Terminal Devices | SPECIFICATION SECTION | EA
238216 Coils | SPECIFICATION SECTION | LF
238314 Radiant Ceiling Panels | SPECIFICATION SECTION | EA
DIVISION 26 - ELECTRICAL | MASTERFORMAT DIVISION | EA
260513.16 Medium-Voltage, Single-and-Multi-Conductor Cables | SPECIFICATION SECTION | LF
260519 Low-Voltage Electrical Power Conductors and Cables | SPECIFICATION SECTION | LF
260526 Grounding and Bonding for Electrical MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
260533.13 Surface Raceway MASTERFORMAT DIVISION | SPECIFICATION SECTION | LF
260543 Underground Ducts and Raceways for Electrical MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
260593 Electrical MASTERFORMAT DIVISIONs Firestopping | SPECIFICATION SECTION | EA
260923 Lighting Control Devices | SPECIFICATION SECTION | EA
260926 Lighting Control MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
261219 Pad-Mounted, Liquid-Filled, Medium-Voltage Transformers | SPECIFICATION SECTION | EA
261316 Medium-Voltage Fusible Interrupter Switchgear | SPECIFICATION SECTION | EA
262200 Low-Voltage Transformers | SPECIFICATION SECTION | EA
262300 Low-Voltage Switchgear | SPECIFICATION SECTION | EA
262413 Switchboards | SPECIFICATION SECTION | EA
262416.13 Lighting and Appliance Panelboards | SPECIFICATION SECTION | EA
262416.16 Distribution Panelboards | SPECIFICATION SECTION | EA
262713 Electrical Metering | SPECIFICATION SECTION | EA
262726 Wiring Devices | SPECIFICATION SECTION | EA
262813 Fuses | SPECIFICATION SECTION | EA
262816 Enclosed Switches and Circuit Breakers | SPECIFICATION SECTION | EA
262913 Enclosed Controllers | SPECIFICATION SECTION | EA
263213 Engine Generators | SPECIFICATION SECTION | EA
263353 Static Uninterruptible Power Supply with Battery Energy Storage | SPECIFICATION SECTION | EA
263623 Automatic Transfer Switches | SPECIFICATION SECTION | EA
264300 Surge Protective Devices | SPECIFICATION SECTION | EA
265000 Lighting | SPECIFICATION SECTION | EA
DIVISION 27 - COMMUNICATIONS | MASTERFORMAT DIVISION | EA
270528 Pathways for Communication MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
270536 Cable Trays for Communications MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | LF
270543 Underground Ducts for Communications MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
270544 Sleeves and Sleeve Seals for Communications Pathways and Cabling | SPECIFICATION SECTION | EA
271100 Communications Equipment Room Fittings | SPECIFICATION SECTION | EA
271300 Communications Backbone Cabling | SPECIFICATION SECTION | LF
271533 Communications Horizontal Cabling | SPECIFICATION SECTION | LF
273000 Area of Refuge Elevator Landing - Two-Way Communication MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
274100 Speakers | SPECIFICATION SECTION | EA
275100 Assistive Listening MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
275116 Mounts | SPECIFICATION SECTION | EA
DIVISION 28 – ELECTRONIC SAFETY AND SECURITY | MASTERFORMAT DIVISION | EA
283116 Multiplexed Fire Detection and Alarm MASTERFORMAT DIVISIONs | SPECIFICATION SECTION | EA
283117 Fire Fighter Smoke Control Panel | SPECIFICATION SECTION | EA
DIVISION 32 – EXTERIOR IMPROVEMENTS | MASTERFORMAT DIVISION | EA
321216 Asphalt Paving | SPECIFICATION SECTION | SF
321300 Vehicular Concrete Paving | SPECIFICATION SECTION | SF
321316 Decorative Concrete Paving | SPECIFICATION SECTION | SF
321413 Interlocking Concrete Pavers | SPECIFICATION SECTION | SF
321613 Vehicular Concrete Curbs and Gutter | SPECIFICATION SECTION | LF
328400 Irrigation MASTERFORMAT DIVISION | SPECIFICATION SECTION | EA
329200 Lawns and Grasses | SPECIFICATION SECTION | SF
329300 Planting | SPECIFICATION SECTION | EA
DIVISION 33 – UTILITIES | MASTERFORMAT DIVISION | EA
331000 Water Utilities | SPECIFICATION SECTION | LF
333000 Sanitary Sewerage Utilities | SPECIFICATION SECTION | LF
334000 Storm Drain Utilities | SPECIFICATION SECTION | LF
335100 Natural Gas Distribution | SPECIFICATION SECTION | LF